## Slide 1: Relay
Gt ece labs
Slides by helen yoo

## Slide 2: What are relays?
Electromagnetic switch that operates by electric current that can turn off and on a larger amount of current
Work as a switch (turn off/on circuit) and or amplifier (change small current into large current)
Usually used when controlling a circuit by an independent low-power signal or several circuits controlled by one signal

## Slide 3: How it works?
A small current flows into input circuit coil to activate electromagnet that produces a magnetic field around it
The energized electromagnet pulls metal bar in the output circuit towards the input circuit to close the output circuit and allow for larger current to flow through the output circuit

## Slide 4: Types of relays
High voltage relays
  Specifically for switching high voltages and currents
Electronic and semiconductor relays
  Solid-state relays that switch currents entirely electronically
Timer and time-delay relays
  Triggers outputs for a limited period of time
Thermal relays
  Used when turning on and off to prevent overheating
Overcurrent and directional relays
  Prevent currents from flowing in wrong direction in circuit
Frequency protection relays
  Prevent frequencies from getting too high and/or low